## Slide 1
Level 0
Physical Process
Field I/O device
IED
Metering Unit
Sensors
Level 1
Controller LAN
PLC
RTU
Level 2
Control Center (HQ) Processing LAN
MQTT Broker Server
Railway Track Control HMI
Control HMI / Console machine
Level 3
Operations Management Zone
Control Touch Screen/Phone
Monitor Desktop
MQTT Communication Channel
MQTT Client
MQTT Client
Provide The MQTT Client connection interface lib to publish the data to the broker server
Provide The MQTT Client connection interface lib to subscribe the data from the broker server
Provide The MQTT Broker interface lib to save the data execution the control logic and handle all the data publish and subscribe request
Different OT levels DNP3 data follow with device configuration

## Slide 2
Level1 OT Controller Devices
Input Parameter Dict
Level0 OT Physical Field I/O Devices
Auto
Control
Logic
Level2 OT Control Console or HMI
Output Parameter Dict
UDP Simulated Electrical Signal RTU Input
UDP Simulated Electrical Signal RTU Output
DNP3 Server
NDP3 Client
Python RTU/IIoT Simulator with IEC-20922 MQTT Communication Protocol
Gas Power Generator Simulator Program
Transformer Simulator Program
UDP Simulated Electrical Signal RTU Input
Metering Unit Simulation
DNP3 Server
Power Transmission Control RTU Simulation Framework
Generator Control And Monitor
Power Grid Monitor HMI
NDP3 Client
NDP3 Client