## Slide 1
2D Railway[Metro] System Real-world Emulator
2D Power Grid System Real-world Emulator
PLC simulator [Modbus-TCP]
RTU simulator [S7Comm]
Electrical signal simulation
Electrical signal simulation
PLC simulator [S7Comm]
RTU simulator [S7Comm]
Electrical signal simulation
Power supply simulation
Modbus
S7Comm bus
Railway Signal System HMI
Railway Train System HMI
Power Grid and Substation System HMI
Virtual PLC/RTU System Connection Diagram
Electrical signal / Physical Wire Simulation
Modbus-TCP
S7Comm bus
Transformer display panel

## Slide 2
Windows OS VM
PLC Simulator
Modbus server
UDP/TCP Interface
Virtual OT device emulator
Raspberry PI
PLC Simulator
Modbus Server
GPIO interface
Physical OT device
BeagleBone-Black
RTU Simulator
S7Comm Server
Physical OT device with serial port
GPIO interface
UDP/TCP Interface
UDP/TCP Interface
Linus server
RTU Simulator
Modbus Server
S7Comm Server
Modbus
S7Comm bus
SCADA HMI
Modbus Client
S7Comm Client
ICS Remote Console
ICS Engineering station
Serial interface
OT wireless sensors
UDP/TCP Interface
Network connection simulate electrical wire
Physical electrical wire
USB to RS232 adapter
USB to RS485 adapter
Wireless connection
RS422 multi-dop connection
S7Comm Client
Modbus Client
Historian
Modbus Client
S7Comm Client

## Slide 3
Provide the Modbus-TCP and S7Comm interface for user to build their own HMI and Operation management Zone service
Provide the PLC and RTU simulation program for user to build different Level1 field controller
Provide connection interface lib for user to connect to the virtual or physical level0 OT device
The library is focus on provide different function for simulating the level-0 layer to level-2/3 layer on the OT system

## Slide 4
0S
2S
4S
6S
8S
10S
12S
Voltage Hight [5V]
Voltage Low [0V]
Voltage Hight [5V]
Voltage Low [0V]
Voltage Low [0V]
Voltage Low [0V]
Voltage Hight [5V]
Voltage Hight [5V]
PLC physical Contacts wire 1
PLC physical Contacts wire 2
PLC physical Contacts wire 3
PLC physical Contacts wire 4
 | 0s | 1s | 2s | 3s | 4s | 5s | 6s | 7s | 8s | 9s | 10 | 11 | 12
W1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
W2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0
W3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1
W4 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0
Physical electrical signal simulation message :
Physical electrical signal change to real PLC Contacts
Simulated electrical signal change to virtual PLC

## Slide 5
Front sensor detection area
Front detection sensor
Speed sensor
Throttle & break
HR0
Coil00
Coil01
Overall train
power
HR1
Front sensor state holding register
Speed sensor state holding register
Coil output to throttle & break
Coil output to train power
Train HMI control panel
Modbus cmd
False Modbus cmd/data
Train Auto control logic
Modbus data

## Slide 6
Third Rail 750V DC
Train front collision detection radar
Front radar detection area
Train DC moto
Third Railway Power Input Switch
Input voltage sensor
Current sensor
Train speed sensor
2D Train in real-world emulator
Real-world train module function mapping
Track power control PLC
Train driving control PLC
Train sensors RTU
Modbus-TCP
S7comm
Train Driver Console [ on Train ]
On train antenna
Railway antenna
On Train Emergency Power Control
Train input power switch
HQ Trains Operation & Monitor HMI
Modbus-TCP
S7comm
Wireless connection
DC power
Electrical Signal to PLC
latching relay or switch
Sensors
Electrical Signal to RTU
Modbus
S7comm-Bus