## Slide 1
Provide connection interface lib for controller to link to the virtual or physical level0 OT device such as the temperature sensor, security door locker
Provide the RTU simulation program with BACnet server for user to build different Level1 OT field controller
Provide the BACnet client Communication interface for user to build their own HMI and Operation management Zone data base.
Simulated Electrical Signal
BACnet Communication Bus
Building Management Dashboard

## Slide 3
Write Analog Value Property Request
Read Analog Value Property Request

## Slide 4
Center HVAC Physical Components Simulation Modules
Compressor
Air Conditioner
Fan
Heater
Cooling pump
Power Unit
UDP Simulated Electrical Signal RTU Input
UDP Simulated Electrical Signal RTU Output
Room Temp Sensor
Room Humidity Sensor
System OP
Sensors
BACnet HVAC RTU Simulation Framework
Level1 OT Controller Devices
BAC Input Objects [R]
BACnet Server
BAC Analog Objects [R]
BAC Output Objects [W]
Level0 OT Physical Field I/O Devices
RTU input variables
HVA Auto
Control
Logic
RTU output variables
Level2 OT Control Console/HMI/
BACnet HVAC Wall Remote Thermostat Controller/App
BACnet Client
BACnet Client
Building Management Dashboard
Other Building Device
People Detection and Count Radar
BACnet Server
BACnet Bus
BAC Analog Objects [W]

## Slide 5
Current Air Conditioner State:
Cooling/Heating/Power OFF
Current Room Temperature Sensor Reading (C)
Current Room Humidity Sensor Reading (%)
Current compressor and heater State from OPS sensor
Current Room Fan Speed Sensor Guage
Temperature control rotate knob
HVAC Basic Function Control Buttons
Power On/Off
Cooling Pump On/Off
Heater On/Off
Fan Speed Decrease
Fan Speed Increase