## Slide 1
2D Railway[Metro] System Real-world Emulator
2D Power Grid System Real-world Emulator
PLC simulator [Modbus-TCP]
RTU simulator [S7Comm]
Electrical signal simulation
Electrical signal simulation
PLC simulator [S7Comm]
RTU simulator [S7Comm]
Electrical signal simulation
Power supply simulation
Modbus
S7Comm bus
Railway Signal System HMI
Railway Train System HMI
Power Grid and Substation System HMI
Virtual PLC/RTU System Connection Diagram
Electrical signal / Physical Wire Simulation
Modbus-TCP
S7Comm bus
Transformer display panel

## Slide 2
Windows OS VM
PLC Simulator
Modbus Interface
UDP/TCP Interface
Virtual OT device emulator
Raspberry PI
PLC Simulator
Modbus Interface
GPIO interface
Physical OT device
BeagleBone-Black
RTU Simulator
S7commInterface
Physical OT device with serial port
GPIO interface
UDP/TCP Interface
UDP/TCP Interface
Linus server
PLC Simulator
Modbus Interface
S7commInterface
Modbus
S7Comm bus
SCADA HMI
Modbus Interface
S7commInterface
ICS Remote Console
S7commInterface
ICS Engineering station
Modbus Interface
Serial interface

## Slide 3
Front sensor detection area
Front detection sensor
Speed sensor
Throttle & break
HR0
Coil00
Coil01
Overall train
power
HR1
Front sensor state holding register
Speed sensor state holding register
Coil output to throttle & break
Coil output to train power
Train HMI control panel
Modbus cmd
False Modbus cmd/data
Train Auto control logic
Modbus data

## Slide 4
Third Rail 750V DC
Train front collision detection radar
Front radar detection area
Train DC moto
Third Railway Power Input Switch
Input voltage sensor
Current sensor
Train speed sensor
2D Train in real-world emulator
Real-world train module function mapping
Track power control PLC
Train driving control PLC
Train sensors RTU
Modbus-TCP
S7comm
Train Driver Console [ on Train ]
On train antenna
Railway antenna
On Train Emergency Power Control
Train input power switch
HQ Trains Operation & Monitor HMI
Modbus-TCP
S7comm
Wireless connection
DC power
Electrical Signal to PLC
latching relay or switch
Sensors
Electrical Signal to RTU
Modbus
S7comm-Bus