## Slide 1
2D Railway[Metro] System Real-world Emulator
2D Power Grid System Real-world Emulator
PLC simulator [Modbus-TCP]
RTU simulator [S7Comm]
Electrical signal simulation
Electrical signal simulation
PLC simulator [S7Comm]
RTU simulator [S7Comm]
Electrical signal simulation
Power supply simulation
Modbus
S7Comm bus
Railway Signal System HMI
Railway Train System HMI
Power Grid and Substation System HMI
Virtual PLC/RTU System Connection Diagram
Electrical signal / Physical Wire Simulation
Modbus-TCP
S7Comm bus
Transformer display panel

## Slide 2
Windows OS VM
PLC Simulator
Modbus server
UDP/TCP Interface
Virtual OT device emulator
Raspberry PI
PLC Simulator
Modbus Server
GPIO interface
Physical OT device
BeagleBone-Black
RTU Simulator
S7Comm Server
Physical OT device with serial port
GPIO interface
UDP/TCP Interface
UDP/TCP Interface
Linus server
RTU Simulator
Modbus Server
S7Comm Server
Modbus
S7Comm bus
SCADA HMI
Modbus Client
S7Comm Client
ICS Remote Console
ICS Engineering station
Serial interface
OT wireless sensors
UDP/TCP Interface
Network connection simulate electrical wire
Physical electrical wire
USB to RS232 adapter
USB to RS485 adapter
Wireless connection
RS422 multi-dop connection
S7Comm Client
Modbus Client
Historian
Modbus Client
S7Comm Client

## Slide 3
Provide the Modbus-TCP and S7Comm interface for user to build their own HMI and Operation management Zone service
Provide the PLC and RTU simulation program for user to build different Level1 field controller
Provide connection interface lib for user to connect to the virtual or physical level0 OT device
The library is focus on provide different function for simulating the level-0 layer to level-2/3 layer on the OT system

## Slide 4
Provide connection interface lib for user to connect to the virtual or physical level0 OT device
Provide the PLC and RTU simulation program for user to build different Level1 field controller
Provide the IEC-60870-5-104 Communication interface for user to build their own HMI and Operation management Zone service
PLC
RTU
IEC104 Client
IEC104 Server
Electrical Signal Simulation Link Clients
Electrical Signal Simulation Link Server

## Slide 5
0S
2S
4S
6S
8S
10S
12S
Voltage Hight [5V]
Voltage Low [0V]
Voltage Hight [5V]
Voltage Low [0V]
Voltage Low [0V]
Voltage Low [0V]
Voltage Hight [5V]
Voltage Hight [5V]
PLC physical Contacts wire 1
PLC physical Contacts wire 2
PLC physical Contacts wire 3
PLC physical Contacts wire 4
 | 0s | 1s | 2s | 3s | 4s | 5s | 6s | 7s | 8s | 9s | 10 | 11 | 12
W1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0
W2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 1 | 0 | 0 | 0
W3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 1 | 1 | 1 | 1 | 1 | 1
W4 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 1 | 1 | 0 | 0 | 0
Physical electrical signal simulation message :
Physical electrical signal change to real PLC Contacts
Simulated electrical signal change to virtual PLC

## Slide 6
Front sensor detection area
Front detection sensor
Speed sensor
Throttle & break
HR0
Coil00
Coil01
Overall train
power
HR1
Front sensor state holding register
Speed sensor state holding register
Coil output to throttle & break
Coil output to train power
Train HMI control panel
Modbus cmd
False Modbus cmd/data
Train Auto control logic
Modbus data

## Slide 7
Level0 OT Physical Field I/O Devices
UDP Electrical Signal Measure Interface
Virtual Power Grid Simulator
Virtual Voltage Meters Unit
Virtual Current age Meters Unit
Virtual RPM Meters Unit
Virtual Breaker Position Sensor
UDP Electrical Signal Control Interface
Virtual Breaker Motor Control
PLC/RTU Station Simulation Framework
Level1 OT Controller Devices
M_SP_NA
M_DP_NA
M_ME_NB
Measured Points
Changeable Points
C_SC_NA
C_RC_NA
LD/ST Input Map module
LD/ST Output Map module
Station Main Control Module
Ladder Logic or ST calculation module
Memory Management Module
IEC 104 Server
IEC 104 Server
Connection Management Module
SCADA HMI/Console Program
IEC 104 Client
RTU report mode
PLC Fetch mode
IEC 104 Client
Level2 OT Control Center (HQ)
Real time control
Periodic report
PLC Control Module
RTU Monitoring Module
Data Management Module
Python Virtual PLC/RTU Simulator with IEC-60870-5-104 Communication Protocol
Simulated
analog /digital electrical
signals

## Slide 8
IEC 104 Measured Point Object
IEC104 Value
Example: M_SP_NA_TRUE
LD/ST Input Map module
LD Components Value
Example: Holding Register Set Val=1
Ladder Logic or ST calculation module
Virtual Meter
Electrical Signal Example: 5V
LD/ST Output Map module
LD Components Value
Example: Coil Set Val=0
IEC104 Value
Example:
C_RC_NA_STEP_HIGHER
IEC 104 Changeable Point Object
Virtual Motor Controller
Electrical Signal Example: 0V

## Slide 9
Schneider Modicon M221 PLC
Siemens SIMATIC S7-1200 PLC
OT Device
Electrical signals
Sensors
Signals
Python Program
SCADA Network
Motors
Pumps
Modbus-TCP
S7Comm

## Slide 11
%M10
%I0.1
%M10
Ladder Logic section
%M60
%M60
%Q0.6

## Slide 12
0000
01
0f or 01
0008 or 0006
0000
Memory index | Bit length
( 2 bytes ) | ( 2 bytes )
Memory Data Read
0008
001e
Memory index | Bit Index | Byte Index | Value
( 2 bytes ) | ( 2 bytes ) | ( 1 bytes ) | ( 1bytes )
Memory Data Write
01
0001
01
001e

## Slide 13
Third Rail 750V DC
Train front collision detection radar
Front radar detection area
Train DC moto
Third Railway Power Input Switch
Input voltage sensor
Current sensor
Train speed sensor
2D Train in real-world emulator
Real-world train module function mapping
Track power control PLC
Train driving control PLC
Train sensors RTU
Modbus-TCP
S7comm
Train Driver Console [ on Train ]
On train antenna
Railway antenna
On Train Emergency Power Control
Train input power switch
HQ Trains Operation & Monitor HMI
Modbus-TCP
S7comm
Wireless connection
DC power
Electrical Signal to PLC
latching relay or switch
Sensors
Electrical Signal to RTU
Modbus
S7comm-Bus

## Slide 14
Train front collision detection radar
Train DC moto
Input voltage sensor
Current sensor
Train speed sensor
Real-world train module function mapping
Train driving control PLC
Train sensors RTU
On train antenna
Railway antenna
Wireless connection
Train DC moto

## Slide 15
Physical Sensor signal link to PT1
Physical Sensor signal link to PT2
HMI Set Val to PT3
HMI Set Val to PT4
Condition value generator :
True -> 1.01
False-> 1.02
Val to PT5
IF IN_STATA:
OUT = 1.01
ELSE
OUT = 1.02
END IF
Address
%M = 000002
%M = 000004
%M = 000001
%M = 000003
%M = 000005